
SECTION 6 - SUB-SECTION C

COMMUNICATION INFRASTRUCTURE, TELEPHONE SYSTEM AND PUBLIC ADDRESS (PA) SYSTEM

CONTENTS

CHAPTER C1- COMMUNICATION INFRASTRUCTURES
6C-2

1.1
Scope of Work
6C-2
1.2
Communication Infrastructure Content
6C-2
1.3
Outdoor Communication Duct current status 
6C-2
1.4
Indoor Communication System current status
6C-3

1.5
Installation, Operation and Training
6C-4
1.6
Service & Maintenance
6C-5
1.7
Documentation
6C-6

1.8
Ambient Conditions
6C-7
CHAPTER C2 - TELEPHONE SYSTEM
6C-8

2.1
General

6C-8
CHAPTER C3 - PUBLIC ADDRESS (PA) SYSTEM
6C-9

3.1
General

6C-9
3.2
Description
6C-10

3.3
System Basics
6C-10

3.4
PA Zones
6C-14

3.5
PA Operating Centers
6C-14
3.6
Installation, Operation and Training
6C-15

3.7
Service & Maintenance
6C-15

3.8
Documentation
6C-16

3.9
Ambient Conditions
6C-17

Appendix 1 - Telephone system Specifications
6C-18
CHAPTER C1 - COMMUNICATION INFRASTRUCTURES
1. Scope of Work

1.1 General 


The Contractor shall design, supply and install the communication infrastructure for the Inspection Site in accordance to the International, Israeli Communication and Bezeq standards. 

1.1.1 Communication Systems 

The following communication systems shall be upgraded as part of the project:

a. “Computer & Data” communication – mainly buildings D+A+G, partially E.

b.  “PA” system – All Inspection Site
c. “Telephone” exchange – not included in the project.

1.2 Communication Infrastructure Content


The communication infrastructure consists of the following:

1.2.1 Outdoor Communication Ducts


Currently the outdoor communication ducts include:

a. Ducts connecting the main communication room (building E) to the nearest out side communication facility.

b. Ducts connecting all buildings/gates in the site
1.2.2 Indoor communication system: ducts, cables, outlets etc.
1.3 Outdoor Communication current status: 

1.3.1 Main communication room connections to outside facilities

1.3.1.1 The main communication room is connected to the port facilities by 8x4” ducts.

1.3.1.2 Outdoor Cables:

a. From main communication room to the outside facilities:

1) Telephone Communication Bezeq cable - 100 pairs: 100x2x0.6 PJ

2) Computer & Data Fiber optic cable - 24 Multi Mode Fiber optics

3) Communication Fiber optic cable - 12 Single Mode Fiber optics

1.3.2 X ray Building (D) connection 


The building is connected by underground ducting system consisting of 160 mm diam. pipes and manholes. 


Cable types: 30 pairs (30X2X0.6 pj) + 6 fiber optic (MM) that ends in a 19”, 22U rack.

1.3.3 Gate Buildings (A1/A2/ G) connection 


The buildings are connected by underground ducting system consisting of 3X80 mm diam. pipes and manholes. 

a. Cable types:

· 20 pairs (20X2X0.6 pj) 

·  6 fiber optic MM (A2+G only) that end in a 19”, 10 U racks
b.  Gate A1 is connected by copper cables from A1.

1.3.3.1 It's Contractor responsibility to check the existing connections. 

1.3.3.2 Implementation of the new SDMS system into the gate cabins –contractor may consider using the present cables or install new cables.

1.4 Indoor Communication System current status:

1.4.1 Indoor communication 

1.4.1.1 The cabling communication system in the building comprises of:

a.  “Telephone” cabling according to the standards.

b.  “Data” network cabling according to the standards. 

1.4.1.2 Duct dimensions and materials 

a. Duct for Integration cabling communication are 40x10 cm (main routes) 20x10 cm (secondary routes). 

b. Conduits shall be 1 ¼” diameter. 

1.4.1.3 All communication systems were installed in the ceiling or in the space below the raised floor.

1.4.2 Indoor Cable Installation

1.4.2.1 Cables


Tel & “Data” cables (Integrated) - the present cables are CAT 5e 100 MHZ.

Building D cables will be changed to updated cables, like: S/STP GIGADOR 600 MHz, CAT. 7 HFFR.

1.4.2.2 Outlets 


Building D outlets will be changed to the update Standard communication outlets/sockets: shielded RJ-45, CAT 6A (app. 25 double sockets).  

1.4.2.3 Panels

a. The Present Data panels (Cat 5e ) shall be changed to shielded RJ-45, CAT 6A patch panels ( 2 panels) products by RIT- 2x24 STP RJ-45, model SMART (Front mounted Patching Switches connect ports internally dramatically reducing the need for patch cords in normal use).

1.4.2.4 Patch cords

a. Copper patch cords - about 25 RJ-45 to RJ-45 CAT 6A in two colors   (TEL/DATA)
b. Lengths and quantities of patch cords shall be determined (0.5, 1, 2,     meters).

Note: Cables, outlets, panels and communication system parts shall be approved by the customer. The equipment shall be the updated standards at the installation period with no additional cost.

1.4.3 Marking and Signs

a. Communication ducts, new / upgraded sockets will be marked in HEBREW with clearly visible signs.

b. The signs shall be placed along the duct length, with at least 3-m intervals and especially adjacent to all branching points and passages between rooms.

1.5 Installation, Operation and Training 

1.5.1 Installation


The installation will be professional, expert and efficient using standard and safe materials and tools complying with Israeli Standards and work practices.

1.5.2 Acceptance Tests

1.5.2.1 The supplier will attach acceptance test notes or specifications.

1.5.2.2 The tests will be conducted by the supplier in the presence of customer’s representative. Once tests are completed, the supplier will prepare a summary report. The supplier and the customer’s representative will append their signatures as mark of approval of the tests and their results.

1.5.2.3 All approvals will be under the responsibility of the supplier.

1.5.3 Maintenance Commitment

The supplier will be committed to stocking necessary spare parts for a minimum period of 7 years. 
1.5.4 Training 


Once the system is operating, the supplier will train the customer’s employees in system operation, features and capabilities. The training will be based on documentation provided to the customer. The customer will be able to order refresh courses and additional training for a period of 6 month from exchange start-up date, at no additional cost. 

1.6 Service and Maintenance 

1.6.1 Service
1.6.1.1 Supplier’s service center will be ready to provide telephone diagnostic and troubleshooting support. To this end, a professional will be available to respond to queries within 10 minutes from the call for service, or for telephone support.

1.6.1.2 Response time required for urgent failures - Technician arrival within 2 to 4 hours.

1.6.1.3 Ordinary failure response times 
a. For failure message received before 11:00 the technician will arrive the same working day before 15:00. For failure message received after 11:00 the technician will arrive until 11:00 the next working day.

b. The supplier will make sure the customer is available and the faulty equipment is accessible. No technician visit will take place without prior coordination.

1.6.2
Warranty

The communication systems and equipment that will not be changed will be under the contractors warranty and maintenance terms. 

1.7 Documentation  

1.7.1 While installing the system the supplier will attach the following documentation in Hebrew. He will be responsible for providing documentation and technical literature as follows:

a. Technical documentation – all equipment user instructions and specifications. 

b. Operating documentation – equipment operating instructions, troubleshooting etc. This documentation will be forwarded to communication manager.

1.7.2 The supplier will provide the customer with 3 documentation sets (Hard copy and CDs’) including:

a. Technical specifications of system and interfaces.

b. System layout with connection and interface points.

c. Detailed user guide for operator and system manager allowing optimal system operation.

d. Operating instructions for end users.

1.7.3 Any other information and documentation pertaining to optimal operation;

1.7.4 The documentation will have a clear and good-looking graphic layout, incorporating advanced graphic features that facilitate reader’s comprehension. Documentation samples will be submitted on customer’s request.

1.7.5 The documentation will be submitted in a bound book format and, where possible, in Microsoft Word, Autocad, Excel  compatible CD-ROM format.

1.8 Ambient Conditions 

1.8.1 Required Conditions


The system with all equipment will operate under the following conditions:

a. Temperature: -2(C to 45(C

b. Relative humidity: 20% - 80%

c. Dust: 14 mg/m2

1.8.2 Grounding


The supplier will list the equipment grounding requirements and verify their compatibility at the site.

1.8.3 Compliance with Standards


The supplier will attach standards and compliance certificates for all equipment supplied (cables, patch panels, sockets, etc.).


The supplier will attach RFI/EMI compliance certificates according equipment supplied.

1.8.4 Lightning Protection 


All supplied equipment will be lightning and surge protected.


The protection will comprise: power sources, electrical sockets, data lines  etc. 

CHAPTER C2 - TELEPHONE SYSTEM
2. Scope of Work
2.1 General

2.1.1 Site's telephone system, being part of Ashdod Customs, shall be replaced and upgraded. The project includes replacement at the inspection site and at Ashdod Customs offices.   

2.1.1.1 Customs inspection Site
a. Site's Telephone system (known as PBX # 100966307), located in the communication room in the main building (E), shall be removed and upgraded to an AVAYA model TBD (to be defined), purchased from “Bezeq Benleumi“ (the telephone contractor for the customer).  

b. The contractor shall supply the following phones for all site's workstations 
· Standard telephones - (Falcon) 
·  Smart phones - (Tarus)

c. The power backup for the telephone system shall be replaced.

2.1.1.2 Ashdod customs offices (Forum building in Ashdod industrial area)

a. The Telephone system (known as PBX # 100994803) shall be removed and upgraded to an AVAYA model TBD (to be defined), purchased from “Bezeq Benleumi“ (the telephone contractor for the customer).  

2.1.1.3 Both sites must be upgraded simultaneously.

CAPTER C3 - PUBLIC ADDRESS (PA) SYSTEM
3. Scope of Work

3.1 General

3.1.1 This chapter describes the planning, supply, installation and operation of PA system, and its integration with other systems.


The existing PA system has been installed approximately 10 years ago.


The site PA system shall be upgraded to the customs needs.


Equipment that will not be changed (approved by the customs consultant) will be under the contractor’s warranty and maintenance terms. 

3.1.2 Work Content
3.1.2.1 Detailed planning of the PA system

3.1.2.2 Coordination and integration with other systems (TELEPHONE, FIRE etc.);
3.1.2.3 System installation

3.1.2.4 Acceptance tests and operation

3.1.2.5 Delivery and documentation

3.1.2.6 Training including training kits

3.1.2.7 One year warranty including service and maintenance

3.1.3 Important Points

3.1.3.1 The PA system will include all peripheral equipment, amlifiers and electrical installations of all system components. The system will be installed as a complete unit and will operate as specified below.

3.1.3.2 The PA system will be a standard product of a reputable manufacturer. The manufacturer will assure parts availability and on-site technical assistance for at least 5 years after delivery.

3.1.3.3 The PA system shall be approved by the customer.

3.2 Description

3.2.1 PA system
3.2.1.1 The PA system will cover the entire buildings and Inspection site and outdoor areas.

3.2.1.2 The coverage will be divided into separate zones.

3.2.1.3 Public address will be operated in one of the following forms:

a. Individually, in each separate zone.

b. Simultaneously, in a number of selected zones
c. Total operation in all zones. 

3.2.1.4 The PA will be operated from fixed operation centers. Optionally, transfer to other selected centers will be possible.

3.2.1.5 Priority order will be set for the various operation centers. Operating a PA center will disable all the lower priority centers.

3.2.1.6 PA operation will be accompanied by a gong to attract attention.

3.2.2 Background Music

3.2.2.1 Background music with required volume will be possible in selected zones.

3.2.2.2 The music will be played by an AM/FM radio with fixed stations and CD player. 

3.3 System Basics

3.3.1 General
3.3.1.1 The system will comprise amplifier and equipment units, in a 19” rack. 

3.3.1.2 The 19” rack will be installed in the Main building E control room .

3.3.1.3 PA zone outputs will be electronically protected so that short circuit on a feed to one of the zones will not disable the entire center.

3.3.2 Power System

3.3.2.1 The active components will be powered from a 220V source (the system will be powered from a UPS) and from a standalone 24V charger/battery. Change from 220V to 24V emergency voltage will be automatic.

3.3.2.2 The power system will consist of 2 sets of stationary or maintenance- free batteries connected in parallel with total 3 hour work capacity with no charging.

3.3.2.3 The charger system will employ the n+1 technique, that is when a charger fails   additional charger kicks in. Charger failure will activate a sound/visual alarm in the control center.

3.3.3 Equipment Racks

3.3.3.1 The main rack will be of 42 PU height and 19" width, equipped with front and back doors with locks. The sub rack in building D will be 20 PU and similar.

3.3.3.2 A power distribution panel with DC and AC switches for the rack equipment and indication lights will be mounted in the top part of the rack. 

3.3.3.3 DC distribution units and AC sockets for equipment and maintenance will be mounted on the rack back side.

3.3.3.4 A fan mounted in the top part of the rack will enable amplifier operation when the air conditioning system is inactive. 

3.3.3.5 Amplifiers, switching units, controls, receiver, signal generators, internal supplies etc. will be mounted on the rack. 

3.3.3.6 All unit cable connections will be on the back panel and will include reserve for unit connection/disconnection.

3.3.3.7 The cable will be connected with suitable connectors or cable lugs.

3.3.3.8 Loudspeaker and operating unit cable connections will be on terminal panels using cable lugs.

3.3.4 Loudspeakers
3.3.4.1 Horn speaker

a. Horn speakers will be installed outdoors on suitable consoles or on building walls.

b. Maximum speaker volume will be 123 dB at 1 meter distance.

c. Thrust heads and transformers will be built in the speaker.

d. The transformer will deliver three output power levels differing by at least 3 dB.

e. Speakers will be distributed in the energy rooms and outside areas with the minimum of reverberation and overlap effects.

f. The speakers will be made of aluminum or ABS.

3.3.4.2 Cone speaker

a.  30W RMS (or other selected model) cone speakers will be installed         inside the buildings in decorative wooden cases/ceiling mounted.

b. Transformers will be built in the wooden cases or as part of the speaker. The transformer will deliver three output power levels differing by at least 3 dB.

3.3.5 PA Operating System

3.3.5.1  Two PA unit types will be planned – one mounted on a 19” rack and the other free standing to be placed on a bench with no special connections. The units will be mobile and easily connected/disconnected.

3.3.5.2 The operating units will be totally encased in metal and will include the following parts:

a. Selector pushbutton switches for PA routing to the different zones – an   ON/Off switch for each zone.  

b. On/Off switch for simultaneous PA routing to all zones;
c. Dynamic directional microphone;
3.3.5.3 Mobile microphone jack;
3.3.5.4 Mobile microphone with built in PTT pushbutton.

3.3.6 Amplifiers
3.3.6.1 The amplifier output TBD at detailed planning stage.

3.3.6.2 General specifications:

a. Amplifier, 60 dB min.

b. Distortion – less than 2%
c. Signal-to-noise ratio 85 dB.

d. Fixed voltage operation at 70/100V.

e. 230 VAC 50 Hz or 24DC (both options are required).

f. Recording output.

g. 19” standard width.

3.3.7 Gong



A gong signal generator is incorporated in the PA system to attract attention when one of the operating units is about to announce/transmit a message (not required for alarm/all clear). On opening the microphone circuit this signal is automatically transmitted for 2 seconds.

3.3.8 Radio /CD

3.3.8.1 A radio/ CD playing background music will be installed in the PA equipment rack.

3.3.8.2 Radio specification will be as follows:

a. AM/FM radio.

b. Frequency range:                         AM: 520 kHz – 1610 kHz 





FM:  87.5 MHz – 108 MHz

c. Sensitivity:

                     AM:  20 V / 1000 kHz – 20 dB





FM:  2.5 V / 98 MHz – 30 dB

d. Distortion: less than 1%.

e. Signal-to-noise ratio: above 65 dB.

f. Station selection: manual selector knob, 4 pushbuttons for fixed stations.

g. Output impedance compatible with equipment input impedance.

3.3.8.3 AM/FM antenna connection will be planned.

3.3.8.4 The radio tape will be a single plug-in unit in the mixer unit pack.

3.3.9 Music Zone Control

Required audio level controls with continuous regulation capability.

Note:
Audio level in each of the PA zones/sites will be regulated as follows:

a. At amplifier level for all zones.

b. At zone levels by means of controls in PA equipment room for music only.

c. At preamplifier level for each PA operation unit.

d. At loudspeaker level with 3 output degrees.

3.3.10 Preamplifier
a. Each PA operation unit will be facing a preamplifier.

b. The preamplifiers will be installed in the mixer pack and will enable loudness of the system.

c. The preamplifier characteristics will be compatible with the amplifier. The preamplifier will not produce noise or degrade loudspeaker performance.

3.3.11 Modularity

The system will be built from modular replaceable units enabling future extensions and changes to the operation zones and centers. 
3.3.12 Lightning Protection


The principal elements of the equipment, amplifiers, mixer etc will be lightning protected by means of units connected on all power lines to loudspeakers and outdoor operation units.

3.4 PA Zones

3.4.1 E building offices

3.4.2 E building recheck shed

3.4.3 D building offices

3.4.4 D building technical area

3.4.5 D building scanning tunnel

3.4.6 Outside areas
3.5 PA Operating Centers 

3.5.1 Building E - Control room 

3.5.2 Building E - Inspectors Shift manager room

3.5.3 Building D - System operator room

3.5.4 Gate G - Control room

3.6 Installation, Operation and Training 

3.6.1 Installation


The installation will be professional, expert and efficient using standard and safe materials and tools complying with Israeli Standards and work practices.

3.6.2 Acceptance Tests

3.6.2.1 The supplier will attach acceptance test notes or specifications.

3.6.2.2 The tests will be conducted by the supplier in the presence of customer’s representative. Once tests are completed, the supplier will prepare a summary report. The supplier and the customer’s representative will append their signatures as mark of approval of the tests and their results.

3.6.3 All approvals will be under the responsibility of the supplier.

3.6.4 Maintenance Commitment


The supplier will be committed to stocking necessary spare parts for a minimum period of 7 years. 

3.6.5 Training 


Once the system is operating, the supplier will train the customer’s employees in system operation, features and capabilities. The training will be based on documentation provided to the customer. The customer will be able to order refresher courses and additional training for a period of 6 month from exchange start-up date, at no additional cost. 

3.7 Service and Maintenance 

3.7.1 Service

3.7.1.1 Supplier’s service center will be ready to provide telephone diagnostic and troubleshooting support. To this end, a professional will be available to respond to queries within 10 minutes from the call for service, or for telephone support.

3.7.1.2 Response time required for urgent failures -Technician arrival within 2 to 4 hours

3.7.1.3 Ordinary failure response times 
a. For failure message received before 11:00 the technician will arrive the same working day before 15:00. For failure message received after 11:00 the technician will arrive until 11:00 the next working day.

b. The supplier will make sure the customer is available and the faulty equipment is accessible. No technician visit will take place without prior coordination.

3.8 Documentation  

3.8.1 While installing the system the supplier will attach the following documentation in Hebrew. He will be responsible for providing documentation and technical literature as follows:

a. Technical documentation – all equipment user instructions and specifications. This documentation will be forwarded to communication manager on special request within 24 hours. 

b. Operating documentation – equipment operating instructions, troubleshooting etc. This documentation will be forwarded to communication manager.

c. End user documentation – peripheral equipment operating instructions (operator’s stands auxiliary devices). Required amount of the documentation will be provided. 

3.8.2 The supplier will provide the customer with 4 documentation sets including:

a. Technical specifications of system and interfaces

b. System layout with connection and interface points

c. Detailed user guide for operator and system manager allowing optimal system operation

d. Operating instructions for end users

3.8.3 Any other information and documentation pertaining to optimal operation

3.8.4 The documentation will have a clear and good-looking graphic layout, incorporating advanced graphic features that facilitate reader’s comprehension. Documentation samples will be submitted on customer’s request.

3.8.5 The documentation will be submitted in a bound book format and, where possible, in Microsoft Word compatible CD-ROM format.

3.9 Ambient Conditions

3.9.1 Required Conditions


The system with all equipment will operate under the following conditions:

a. Temperature: -2(C to 45(C

b. Relative humidity: 20% - 80%

c. Dust: 14 mg/m2

3.9.2 Grounding


The supplier will list the equipment grounding requirements and verify their compatibility at the site.

3.9.3 Compliance with Standards


The supplier will attach RFI/EMI compliance certificates according to Israeli Standard.


The supplier will attach safety compliance certificates according to Israeli Safety Standard 1124.

3.9.4 Lightning Protection 


All supplied equipment will be lightning and surge protected.


The protection will comprise: power sources, electrical sockets, data lines etc. 
Appendix 1
	Location: Custom Ashdod
	
	

	
	
	

	

	Core System Elements

	Quantity
	Part Number
	Description

	
	
	

	
	
	

	1
	NT5Y55JA
	CPPM Signaling Server Linux Upgrade to R7 (2GB CF)

	1
	271983
	Third Party Network Readiness Assessment tracking

	
	
	

	

	Software

	Quantity
	Part Number
	Description

	
	
	

	
	
	

	392
	NTHN89BB
	Like for Like Software Upgrade per Extension (up to 1199 users per system)

	
	
	SubTotal for Software

	72
	NTHN90BC
	Branch Media Gateway Upgrade to Current - Like for Like Software Upgrade per Extension

	
	
	

	

	System Manager

	Quantity
	Part Number
	Description

	
	
	

	
	
	

	1
	NTL216899
	System Manager Release 6

	1
	NTL700504530
	Avaya Aura System Manager R6.3 DVD

	1
	NTL700501093
	System Manager Server HP DL360G7 SRVR 2CPU MID4

	
	
	

	

	Session Manager


	Quantity
	Part Number
	Description

	
	
	

	
	
	

	1
	NTL700504625
	AVAYA AURATM SESSION MANAGER 6.3 DVD

	1
	NTL700504700
	AVAYA AURATM Session Manager 6.3 RH KCKST NEW DVD

	16
	NTL264231
	SM R6.X SIP CONNECTION LIC ENTITLE

	1
	NTL700501092
	Session Manager HP Server DL360G7 SRVR 2CPU MID3

	
	
	

	

	Location: Custom Port Ashdod
	
	

	
	
	

	

	Terminals

	Quantity
	Part Number
	Description

	
	
	

	
	
	

	8
	NTJN12AA
	M3904 Professional Set

	
	
	SubTotal for Terminals

	Core System Elements

	Quantity
	Part Number
	Description

	
	
	

	
	
	

	1
	NT5Y51ZA
	Media Gateway upgrade to current release

	
	
	SubTotal for Core System Elements

	

	Core System Elements

	Quantity
	Part Number
	Description

	
	
	

	
	
	

	

	1
	NT5Y54CA
	MG 1000B system software upgrade 6.0 and later to current

	
	
	

	
	
	








section 6-C .doc
6C-1
2012

