1

SECTION 6 - SUB-SECTION F

ADMINISTRATIVE, SPECIAL FURNITURE AND ACCESSORIES

CONTENTS

1.
General
6F-2

2.
Accessories
6F-4
3.
Special furniture
6F-5
4.
Administrative equipment and furniture
6F-7
5.
Furniture list
6F-8
1.
General
1.1
As part of the implementation of the upgrading project the required furniture and the special furniture for the workrooms shall be included.

1.2
In light of the aforesaid, the administrative and technical special furniture and accessories required for operation and functioning of tasks that are part of the upgrading project, as defined in the SOW, will be supplied by the contractor.

1.3
The general characteristics of all the items and accessories required are presented below.

1.4
Chairs - General requirements
Chairs shall be durable and high standard. 

Chair base

Five-arm base of reinforced cast nylon PVC made dual-wheel casters;

Chair column

Three-stage telescopic with gas cylinder;

Chair mechanism

The chair will have a synchronous mechanism with auto-shock absorbers to allow backrest-to-seat angle adjustment using a single lever. 

Chair seat
12-mm thick contoured hot-pressed plywood board upholstered in 10-mm thick polyurethane foam (or equivalent) with 28 kg/m2 density;

Backrest

12-mm thick plywood board upholstered in polyurethane foam, 30-mm thick on the inside and 10-mm thick on the outside.

Armrests
Adjustable armrests made of rigid reinforced polyurethane foam (or equivalent).

Fabrics

Shell fabric type “Lana” (or equivalent) made of 100% polyolefin fibers strengthened with acrylic. Long wearing and fast colors;

1.5
All supplied items will fully conform to Israeli and European Standards and no less than accepted market high standards.


All raw materials, components, metal parts, auxiliary and coating materials will be made of appropriate, new, top quality materials using top quality workmanship and will conform to their functional specifications. 

1.5.1
Plywood used for furniture will conform to IS 37 for 1/3” plywood with the exception to these furniture items for which use of different type plywood was permitted.


Formica sheets will conform to IS 507.

1.5.2
Metal furniture parts will be made from approved Grade A new profiles and tubes. All metal parts, such as table legs, will be highly finished industrial products.

1.5.3
Openings for cable passage will have veneer trim. The openings will be closed with plastic covers with colors and style matching the surrounding furnishings. 

2.
Accessories

This section includes the following models of writing boards and thumb-tack boards:

2.1
White marker board  


Durable, wear resistant dry-wipe 120x140 cm writing board made of enamel coated steel to accept magnetic accessories. The board will also be used as a projection screen. 

Aluminum or wood trim with rounded corners and a long tray.

The board will include hanging accessories and reinforcements suitable for all wall types.

2.2
Tack board  


120x160 cm board made of 5-mm thick cork (or equivalent) with 3-mm thick wooden backing and 2.5 cm wide wooden trim. Long lasting and wear resistant surface; 


The board will include hanging accessories and reinforcements suitable for all wall and partition types.

2.3
Notice board
Same as 2.2 but dimensions 120 x 200 cm;

Additionally, the board will be provided with sliding glass panels and a lock.

3.
Special Technical furniture
3.1
General
3.1.1
The special furniture includes operator counters and operator tables of various models designed to allow installation of control, operation and communications equipments, to provide easier operation and maintenance while keeping required lines of vision clear.

3.1.2
The furniture, composed of "standard" items (modules), will allow assembly of various positions, according to needs, by a modular system.

3.1.3 Special items (ex: operator's table in cabins) will be designed and built as required and according to the installation area.

3.2
Operator/Controller positions

The operator positions are designed to serve operators of the radiographic installation, the Check-in/out cabins and the command and control system (SDMS).

3.2.1
A basic operator position will allow a working space for an operator with clear lines of vision to other positions, and will provide solutions for installation of the communications equipment and the special equipment (working stations) in the position.

3.2.2
Access to the position equipment and the cables will be from the far side of the operator, and maximum attention will be paid to prevention of interference with regular activity during performance of maintenance operations.

3.2.3
The position will be designed on the basis of human engineering principles, and attention will be paid to all the ergonomic parameters.

3.2.4
The materials and the finish will be selected to ensure durability in conditions of extremely intensive work and wear. 


Emphasis will be placed on a high level of finish.

3.3
Control tables/counters
3.3.1
The control tables are destined for placing of screens and communications means for operators and technical personnel in the computer complex.

3.3.2
In principle several types of counters/tables are required according to the installation site and functional purpose.

3.3.2.1
The architecture (deployment configuration) will be determined according to the installation site.

3.3.2.2
The contents of the table/counter and the type of fittings required will be determined according to their functional purpose.

3.3.3
In any case the special furniture will be built in modular form for furnishing items and basic fittings, which will be defined in the detailed planning stage.

3.4
Operator chairs
3.4.1
Every position will include a swiveling operator chair of adjustable height.

3.4.2
The chairs will be upholstered and will be equipped with a springy back support, arm rests and wheels.

3.4.3
Additionally, principles of Clause 1.4 must be considered (general specifications for chairs).

4.
Administrative equipment and furniture
4.1
General

he section relates to standard administrative equipment and furniture items, which will be supplied to the various complexes in the building.

4.2
Office tables
4.2.1 Office table with metal frame including small cupboard, drawer and writing surface coated with Formica, measuring app. 75x160 cm with extension cabinet.

4.3 
Office Chairs

4.3.1
Principles of Clause 1.4 must be considered (general specifications for chairs).


pholstered, swivel chair, of adjustable height, including arm rests and wheels;

4.3.2
Visitors chair

Metal frame stack chair with plywood polyurethane-upholstered seat and backrest. Dimensions: width 48cm, depth 55 cm, height 80 cm.

4.3.3
Waiting sofa seat (triple)

Perforated steel frame (or equivalent); Polyurethane upholstered plywood sofa and backrest. Dimensions: width 200 cm, depth 65 cm, height 70 cm.

4.4
Locker cabinet

Sheet metal frame (or equivalent) - 6 compartments; each compartment equipped with shelves and hooks. Compartment doors with locks; Compartment dimensions: width 40 cm, depth 40 cm, height 90 cm.

5. Furniture list 

The following list is for general idea only and does not include:

· Specific technical furniture required at the workstations

· Service area devices

· Team room

The final list will be determined according to the final approved plans:

5.1 Radiography Building  

5.1.1 White marker board - 2 

5.1.2 Tack board - 2 

5.1.3 Notice board - 1 

5.1.4 Operator table/counter - 6 

5.1.5 Operator chair - 6 

5.1.6 Office table - 2 

5.1.7 Office chair - 2 

5.1.8 Visitor chair - 4 

5.1.9 Dinning table for 4 (square) - 1 

5.1.10 Dinning chair - 4 

5.1.11 Cabinet cases for books - 1 

5.1.12 Lockers (for lavatory) - maximum 

5.2 Office Building  

5.2.1 Operator table/counter - 9 

5.2.2 Cabinet cases - 3

5.2.3 Operator chair - 9 

5.2.4 Dining tables - 2 

5.2.5 Dining chairs - 8

5.2.6 Cabinet cases for books - 3

5.2.7 Lockers  

5.3 Gate cabins (x4)

5.3.1 Operator chair - 8 

section 6-F.doc 
6F-1
2012
1
section 6-F.doc 
6F-8
2012

