8

SECTION 6 - SUB-SECTION I

WATER SYSTEM
CONTENTS

A - Water System 
6I-2

1. 
General
6I-2

2. 
Main Scope of Work
6I-2

3. 
System standards and specifications
6I-3
1. General
1.1 The current water supply system in the site supplies water to the buildings for kitchens, cleaning and sanitary uses, water for irrigation of garden areas and for fire extinguishing systems.

1.2
The water supply system is a standalone system.

2. Main Scope of Work 

As part of Customs Site technological upgrade Contractor's sow shall include the following:
2.1 Fire Cabinets

2.1.1 Unpacking the fire cabinets installed inside and outside of building D and removing its contents to site maintenance storage.

2.1.2 The contractor shall install new fire cabinets according to the specifications, requirements and approval of Ashdod Municipality and Fire-fighting Authorities. 

2.1.3 The Contractor shall install in the new cabinets the required equipment (hoses, fire extinguishers, etc) the existing one any additional updated, as required by the Fire-fighting Authority requirements.

2.1.4 All installed equipment will be approved by the Israel standards association - SII (bear SII stamp), standards approvals shall be submitted to the Client.

2.2 Hydrants

2.2.1 The Contractor shall replace the current 2" and 3" hydrants (building D area) with new ones updated and approved by the relevant authorities.

2.3 Irrigation

2.3.1 The automatic irrigation system of the site shall be replaced.

2.3.2 All work will be done according to Health regulations. 
3. System standards and specifications

3.1 Updated Instructions for Sanitary Installations (H.L.T.)
3.2 General specification for building works (Chapter 07 - General Specification for Sanitary Installations).

3.3 General specification for building works (Chapter 57 - General Specification for Water, Sewage and Channeling works).

3.4 Guidelines from the local fire-fighting authorities
section 6-I.doc 
6I-1
    2012
8
section 6-I.doc 
6I-3
2012

