SECTION 4

THE SITE AND ITS COMPONENTS

CONTENTS

1.	General	2

2.	Site Entry and Exit	5

3.	Parking lots	6

4.	Radiography facility	7

5.	Pit Inspection Site	16

SECTION 4 - THE SITE AND ITS COMPONENTS

General

The site for Light Vehicle Radiography inspection facility shall be designed as a comprehensive unit comprising of the following main functions:

- Demolish and removal of debris of old structure

- Erection of a temporary site (tent and its facilities)

- Permanent site with all its facilities

  - Control and Operation facility

  - Radiography facility

  - Pit inspection facility

  - Site plot development

- Removal of temporary site and its facilities.

Drawings No. 143-05-001,143-05-002 and 143-05-003-SH#1-3 shows the conceptual plans for the site and components.

The Light Vehicle Radiography Facility is a building site housing the conveyor, Radiography system, inspection pit, utility rooms, offices, workers and personal of the Radiography Facility.

Site Command and Control components include:

- Entry/ Exit of vehicles to / from the site (roads, signs, etc).

- Entry/ Exit of pedestrians to / from the site (sidewalks, gates, wickets etc.).

- Safety and Security systems

- License plate reader's

Radiography area (part of the building) comprising of:

- X-Ray system & sub systems, including:

Building for Operators, Image analysts, supervisors and control positions

Service, Maintenance, Equipment Storage and Managerial functions.

Pit inspection area (part of the building) comprising of:

- Pit inspection of light vehicles with standing operator and image analysis station.

- Area for equipment required in the vicinity of the working area.

- Office building comprising of operator's positions, Managerial functions, command and control functions as well as service, storage and maintenance areas.

Site development, including:

- Roads and sidewalks

- Parking areas for use of Light vehicles

Sustainable construction

Site design and implement structure will be based on sustainable construction (“green”) principles, using process that is environmentally responsible and resource efficient throughout building’s lifecycle as formulated in the Israeli regulations.

Communication

Regarding communication network, it’s emphasized that according to IT security requirements a total separation between the Customs communication network (“red”) and the radiographic system communication must be implemented in the site.

As result of the above Customs (“red”) and site communications cabinets will be located at different rooms.

The Communication room at the site shall be located at the basement as per approves design and will be secured. Customs rooms will be secured with a biometric system as access control.

Power/ Transformation

- It’s emphasized that rooms containing these elements shall be planned as far as possible from any occupied offices (ELF regulations).

- UPS shall be installed for Radiography system only.

Fire detection and extinguishing

- Fire detection equipment, as required by the Fire local Authorities, will be installed.

- A fire-fighting Cabinet will be set up in area, including extinguishers and hydrant/hose to extinguish fire with water, as well as all other tools required at such a position as per approved design.

The following sections presents a general description of the parts listed above, in accordance with the operational procedures described in section 3 and section 6.

Generally, it is emphasized that site design will present a direct and safe traffic from one sub area to the other (Entrance / Radiography / Pit / Exit, with none, or at least minimal, crossing of roads and it will allow rapid evacuation of the site in emergency situation (free passage from each area)

It’s emphasized that units sizes (office area, etc.) described in the Annex are maximum sizes. There is no possibility of extending the facility size.

Note:	At the PDR, the contractor will present for client's approval, the updated site & building design drawings according to Client's requirements

Site Entry and Exit

General

Generally, Customs employees, visitors and vehicles for customs and security inspection will reach the site through the border terminal area (managed by IAA).

Entrance of all vehicles from the main road will be directed to the “pre-inspection” parking lot.

All passengers and baggage will be unloaded from the vehicle and go through procedure at the arrivals hall.

Exit from the Customs Inspection Site will be through Begin-Terminal's Exit gate (entrance to Israel, operated by IAA).

All the necessary information regarding the process of people and vehicles in the site are described in details in section 3.

Vehicle size to be inspected at radiography site

Note: Due to space constraints, the system will X-Ray vehicles up to 5 meters in length.

A vehicle larger than 5 meters will be transferred for manual inspection

Site design: entrance and exit lanes, as well as all traffic routes, radiography enclosure entrance and pit size, must take into account the following sizes of vehicles that enter the site, according to the required examinations types:  radiography, pit inspections requires fitting of the traffic lanes into/out the site. The inspected vehicle shall be no more than 5 [m] long.

Parking lots

Parking lots within the facility’s area enclosed by site will be newly marked.

The parking lot designated for light vehicles are:

Pre-Inspection parking lot - in front of the Radiography installation;

Pre-Clearance parking lot, designated for vehicles waiting until a decision regarding is made, directing it to next stage. (Exit / Manual/ Other);

Manual inspection area, designated for suspected vehicles

Appropriate gradients and drainage means will be provided.

The parking lots will be painted with marking lines, clear numbers and directions marks to the numbered lanes/bays.

Design of the parking will provide easy access of vehicles driving into/out of the parking and will not require long backwards driving.

The following equipment will be installed in the parking lots:

Loudspeakers for the public announcement (PA) system.

LPR cameras.

TV cameras surveying the parking lots; part of safety and security CCTV system with more than a month’s time backup and archive capabilities.

The area of the parking lots, including access and maneuvering space, should be constrained to the available area.

Emergency passages will be designated in order to let emergency vehicles enter and exit from each area in case of emergency or when traffic is blocked.

Radiography facility

General

The Radiography facility, (net area of ~ 60 [m2]) will comprise of the following parts, each described here and after:

Radiography conveyor (can exceed the 12 [m] tunnel restriction);

Radiography system, including system operation, service and storage rooms;

Technical rooms and electronic equipment section;

Offices, including team room;

Service rooms: Toilets, showers and kitchenette;

Radiography Conveyor System

The fixed radiography conveyor system will be built according to safety standards and will include a concrete enclosure with radiation shielding doors on each side (entrance and exit doors).

Within the enclosure the required safety accessories will be installed, including cameras and video equipment as well as diverse sensors in order to assure safe operation always (all will be plan by safety advisor).

Equipment

The following will be installed at the entrance or inside (as per final plans) the enclosure:

Readers:

- Vehicle ID (LPR)

Sensors and devices:

- Radiation safety devices and interlocks as described in this document and as required by the Israeli Authorities

- Safety devices (cameras, fire detectors, etc)

- Height detection sensor (safety means)

- PA – for system operator's instructions to drivers

Radiography System Area – Technical area

The radiography facility will include the rooms and areas essential for the equipment comprising the system.

This includes radiography tunnel for the dedicated screening equipment (source, detector array, etc.) and all additional systems, conveyor system, as well as storage, maintenance and service rooms as defined by the Contractor and needed for a steady and efficient routine operation and service and maintenance of the whole system.

Technical rooms – this includes all rooms with electrical equipments, as per contractors plan. These include:

Power/ Electrical - as per contractor’s design

Communication room located at the basement.

Operational area

Components

The Radiography area designated for screening operation and control is shown in the schematic drawing of that part.

The area comprises of the following types of workstations, each one designated for its specified functions:

- Radiography system control station:

Two (2) Radiography System Operator workstation (WS) dedicated to the operation, control and supervision of the entire X-Ray screening process (of which one [1] is a standing station in the Pit installation).

- Image Analysis WS (six [6] units, five [5] in the IAW room in the manual office building and one [1] in the pit inspection site as a standing station):

- Used by the radiographic image analyzers.

- Image Training WS (this WS will be in the IAW room in manual site office building)

Building

- Functional classification:

- System Operation

- Image analysis and training area

- Technical rooms

- Team room

- Service area, comprising:

- Kitchenette and dining

- Toilets and showers

- Storage and maintenance rooms

- System technician office

- Shelter room. (As required by Israeli Regulations)

- Building characteristics

- Rigid construction using concrete building blocks, concrete foundations, etc.

- Finish, decoration, furnishing and wall coverings will be of a high standard.

- The building will be air-conditioned (except the radiography tunnel) – temperature regulated at each zone.

- One room (for example the team room) will be built to serve as a shelter in accordance to IDF rules.

- The following elements will be installed in the work positions and electronic rooms:

  - Transparent partitions between the WS, with acoustic insulation.

  - Lighting units with louvers to prevent glare and reflection on computer screens.

  - Adjustable lighting level separately adjusted according to area's function.

  - Shading devices for all outside windows.

Radiography System Operator Workstation

The workstation's configuration will enable the operator to perform functions as follows:

- Opening / closing the doors of the radiography tunnel

- Directing the vehicles (using the PA system) into the required position

- Instructing the driver to leave the vehicle and supervise him (using the CCTV display) to outer perimeter.

- Validate that the driver left the radiography tunnel and is in the secured area.

- Validate radiation safety status – prior and condition to system operation.

- Link vehicle data and screening image

- Operate and monitor the radiography process (RCS).

- Conclude the screening process;

- Image acquisition

- Verification of image quality and confirmation of its transmittance to image analyst workstation.

- Instructing the driver to return to the enclosure and leave the enclosure.

The System Operator position is located in operators'/IAW room and in a standing station. The connection to the enclosure is through the ground floor.

System operator's WS will comprise of the following elements:

- System operator's WS room:

- Furniture – final design to be approved at the DDR.

- Functional and decorative architecture designed while taking into account aspects of functionality and human engineering.

- Writing surface, covered with Formica, Formica on outside surfaces, comfortable place for all operational units, keyboards & mouse.

- Spot lighting for the writing desk and foot rest (upgraded quality)

- Electronic equipment at operator's desk.

- Drawers and storage compartments.

- System operator's WS standing station:

- Furniture – final design to be approved at the DDR.

- Functional and decorative architecture designed while taking into account aspects of functionality and human engineering.

- Writing surface, covered with Formica, Formica on outside surfaces, comfortable place for all operational units, keyboards & mouse.

- Spot lighting for the writing desk

- Electronic equipment at operator's desk.

- Drawers and storage compartments

Radiography System Controls:

- All controls required to operate the screening process will be installed on / within operator's desk.

- The entire process will be displayed dynamically in a graphic form and in real time on screens to be set up on the front panel of the console.

- Telephone- Smart extension

- PA system

CCTV system (CCTV – R) control and display WS

- This CCTV system, designed as part of radiography system's safety measures and based on fixed cameras installed at the entrance, the exit, corridor exit and along the length of the enclosure, will display the status of the various stages during the screening process (and will supply more than a month’s time backup and archive) for example:

- Opening of the shielding doors

- Vehicle movement into the enclosure

- Vehicles stopping at the required position

- Driver leaving the vehicle

- Closing of enclosure doors

- Screening process: movement of the vehicle on the conveyor

- Doors opening

- Driver return to vehicle

- Exit of the vehicle

In addition the CCTV system will display the entire volume of the radiography enclosure to ensure radiation safety (no one was left in the vehicle or the enclosure volume).

- Switches, screens and supervisory equipment for the CCTV system will be installed on the front panel.

- The CCTV system will be able to backup and archive data for at least one month of full operation.

Image Analysts’ Workstation positions (IAW)

six (6) working positions for image analysis are defined (of which one [1] is a standing position in the pit installation) including one additional infrastructure for Customs computer at each IAW location.

Image Analysis Training workstation, identical to the IAW positions will be located at IAW room (office building) see section 5 (Ch. 12).

All the above positions will be fully equipped as per Contractor's proposal and Customer approval at the Design Review.

Furniture for image workstation positions will be of upgraded quality, based on decorative wood furniture, including:

- Functional and decorative architecture designed while taking into account aspects of functionality and human engineering,

- Writing Formica surface, Formica sides and comfortable place for the keyboards and mouse

- Spot lighting for the writing desk and foot rest.

- Space and infrastructure for at least 2 terminals (monitors, keyboards, etc) and a telephone

- Drawers and storage compartments.

Specific equipment at each of the six (6) IAW and the one (1) Training position, including:

- Equipment required for performing image analysis, as specified by the Contractor will be installed on / within operator's desk including, at least:

- Screens to display the X-Ray images

- Data Display monitors, displaying, at least:

- Vehicle data - previously keyed-into system database and analysis results

- Customs data (terminal supplied by the Customer)

- Functional controls

- Keyboards and mouse

- Telephone set.

- PA

- Radiation monitor's (according to safety plan)

- Equipment required for performing image analysis in standing position, as specified by the Contractor will be installed on / within operator's desk including, at least:

- Screens to display the X-Ray images

- Data Display monitors, displaying, at least:

- Vehicle data - previously keyed-into system database and analysis results

- Customs data (terminal supplied by the Customer)

- Functional controls

- Keyboards and mouse

- Telephone set.

- PA

- Radiation monitor's (according to safety plan)

Operators main room additional equipment

The following devices will be installed in operators’ room available and seen by everyone:

Large Screen, wall mounted, designated for display of radiography images generated at every IAW.

Display of the current radiation level (Geiger counter) in the room and in the Pit installation.

The Team room

The team room is designated for 5 persons.	The room will include:

- Seating furniture for 5 persons

- Dining Table and six chairs

- Cabinets, books cases, TV set (at least 42”).

- Telephone set

- Communication Infrastructure & electrical outlets

Technician room

Technician room will be used by the on-site technician and will enable him to perform all maintenance tasks.

The room will include:

  - Standard office set: writing desk, chair, etc.

  - Drawers and storage compartments

  - Telephone set

  - System diagnosis computer

General Services

The Radiography building is intended for use of six (6) workers:

Toilets and shower

The toilet facilities, for men and women, will include:

- Toilet cubicles.

- Washing corner.

- Personal lockers for 6 persons.

- Lower cupboards

- Shower

Utilities room (cupboards,)

Kitchenette and dining room

The kitchenette will include:

- Upper and lower kitchen cupboards.

- Sink and hot and cold water taps.

- Marble surface.

- Power outlets for additional equipment.

- Hot and cold water bar (ex. Tami 4)

- Electrically-heated burners.

- Refrigerator

- Microwave oven

- Additional devices for: paper towel, soap, garbage, etc.

Dining room, including:

- Dining Table and six chairs

Power and communication outlets

It is emphasize that each room as per approved design shall be equipped with power and communication outlets.

The rooms in the building are shown in conceptual Drawings No. 143-05-003-SH#1-3.

Pit Inspection Site

General

The Pit examination area will be part of the SOW and will include a pit inspection facility, in parallel to the radiography facility in a separate enclosure with pit facility inside.

Pit Inspection Facility

The pit is designated for customs inspection of cars

The pit facility will include, pit, storage area and service room.

The whole pit examination facility, including the pit and the offices, will be roofed over (insulated roof) and air-conditioned.

The tasks to be performed in the facility include the following functions:

- Vehicle acceptance

- LPR (License Plate Reader)

- Inspection of the vehicle

- Input of the inspection results: into Customs computer and into site's C&C system

The pit examination area will comprise of as described in the Annex:

- Pit area comprising of one (1) pit: designated for inspection of light vehicles

- Subfloor:

- Ground floor Offices and utility rooms.

- 1st floor: Offices and utility rooms

The inspection pit will allow inspection of vehicles up to 6 [m] long.

Pit dimensions, (total of ~84 [m2] gross):

- Standard Opening: 6 [m] x 0.80 [m]

- Depth between the opening and upper level; 1.90 [m]

- The space under the pit’s opening will be identical to pit’s ground floor size. The height will be enough for a person to walk freely without any obstacles. The pit opening will have a slip free elevated stage.

The plan will allow vehicles to drive on and off the pit with maximal convenience. It’s preferred that the pit will be designed at road level (0)

The following will be installed in the pit:

- Lighting in working areas

- Air pressure outputs above and below the pit

- Power sockets

- Windows for natural light and ventilation (as much as possible)

- Oil draining containers and separator

- Rails for crane

- Descending stairs

- Climbing ladder

- Ventilation system

- Gas contamination detector

- Slip free stage when standing below the vehicle

- Small pit bridge when inspecting vehicle above ground

- Pit opening sides as described in the Annex

Storage room will be provided for working tools.

Ventilation system will be installed to ventilate gases ejected from the vehicles.

Pit opening will be fenced and covered, in order to take the required safety precautions and prevent pedestrians falling inside while not obstructing the movement of vehicles.

The contractor shall present for Client approval his proposal for pit area design, including the efficient cover of the pit’s opening

Vehicles that have been defined as requiring manual examination will be directed to the pit, either following a priori customs plan or as a result of the screening process.