3

Tender number:  Ashdod
Section 1 – Introduction to the SOW

CONTENTS
1.1        Introduction……………………………………………………………………………………………
1.2
Definitions


1.3
Work Contents Highlights
 

1.4
Document description


1.5
Schedule


1.6
Mandatory Requirements


1.7
Acronyms and Abbreviations


SOW for Customs Facility at Ashdod
1. Introduction
This SOW (Statement of Work) constitutes for a Turn Key Project (TKP) including planning, permits, construction, installation and maintenance of a complete facility designated for security and customs checks of cargo and vehicles by means of radiography and manual inspection.
1.1 Location

The facility is adjacent to the existing inspection site in Ashdod and shall be connected as part of the existing site, including all infrastructures and control systems.
1.2 Definitions
1.2.1 Client/Customer - The Client/Customer is the Israeli Ministry of Finance - Israel Tax Authority (I.T.A). 

1.2.2 Contractor – the company with whom the contract, for executing the project of cargo inspection site, is signed as result of this tender.
1.2.3  TP – Tender Publication

1.2.4 Site operator - The facility shall be operated by the I.T.A 
1.2.5 Israel Police – Security issues of site operation shall be under the guidance of the Israeli Police.

1.2.6 ISP – ISRAPORTS - Israel Ports Company - Land owner of the ITA site
1.2.7 CR/CTA – Client's Representative / Client’s Technical Advisor. Performance of the work as required by this SOW shall be supervised by the CR/CTA.

1.3 Work Contents Highlights

1.3.1 The Client hereby orders, and the awarded company is obligated to supply the facility, the design, the systems and the services as specified in this document. 

1.3.2 The Contractor, following contract sign, will perform the required works in order to provide the Client with a fully operational facility, as defined here and after.  
1.3.3 The work contents highlight of this TKP include supply and implementation of:

1.3.3.1 Detailed facility and systems design, Design review meetings  
1.3.3.2 obtaining all needed permits, before, during and after implementation 
1.3.3.3 Civil works and building construction, including all infrastructures  
1.3.3.4 Systems manufacturing

1.3.3.5 Equipment transportation, release from ports, etc.

1.3.3.6 Installation of the screening system, traffic control systems, safety and security systems and all auxiliary subsystems

1.3.3.7 FAT & Acceptance Tests
1.3.3.8  Training sessions and Pilot
1.3.3.9 Service and Maintenance for 10 years – defined in the contract. 

1.4 Document Description
2. The sow list of documents dated 10.6.2019 defines the required scope of the work of the complete project.

2.1 Schedule 

The schedule for implementation of the work as required by this SOW shall be not longer than 25 calendar months After Effective Date of Contract (AEDC). This time period shall cover all the stages of detailed planning needed, required export and import licenses, certifications, construction permits, complete execution of all construction works and radiographic system facilities including auxiliary systems as detailed in this SOW, and success in meeting the requirements of the Final Acceptance Test.

2.2 Mandatory Requirements

2.2.1 Bidder / Contractor Qualifications (defined in the contract)
2.2.1.1 Have proven experience, either directly or with the aid of Sub-contractors, in delivery of a Turn Key Project (TKP) for a complete inspection site, including planning, construction, installation and maintenance of complete radiographic facility for cargo checks utilizing high-energy x-ray inspection.

In the event that a consortium of companies possesses the required accumulated experience, it will be clearly stated who is the main contractor. A copy of the written agreement between the members of the consortium must be submitted with the proposal. 

2.2.1.2 Have proven experience of at least three (3) years (2015-2018) in manufacture, supply and maintenance of an operational working system of the following scanning configuration (Gantry): the emission and detector subsystems move along a static object, utilizing x-ray emission subsystem with energy higher than 4 MeV.
2.2.1.3 Have the ability to provide comprehensive Service and Maintenance for the radiography system.
2.2.2 Radiography System Minimal Requirements

2.2.2.1 The radiography system and all auxiliary systems will comply with Israeli law and regulations

2.2.2.2 The radiographic system will be able to scan and image an object, with dimension equal to two (2) loaded trucks, each of total length of up to 22m, and to display the image of each one on the screen without any distortion or corner cut-off.

2.2.2.3 The System Minimum Performance, expressed in parameters defined in chapter 5 of this SOW, shall be:

2.2.2.4 Ultimate Penetration

The Ultimate Penetration will be at least 400 mm Stainless Steel, at least at 3 different locations (out of the 9 defined positions) and not less than 350 mm at each position. 
2.2.2.5 Resolution

Wire resolution, when measured at the middle of the object at height   corresponding to the center of the beam (best position) will be, at least:

· 2% for 100mm clutter (2mm Stainless Steel wire behind 100mm of Stainless Steel)

· 2.5% for 200mm clutter (5mm Stainless Steel wire behind 200mm of Stainless Steel)

2.2.2.6 Material Discrimination

Material Discrimination mode, differentiating between organic and inorganic material, shall be an integrate part of the system. It will be able to distinguish materials such as organic material and inorganic material and mark them by different colors.
The material discrimination application, designated to improve image analysis, will not significantly deteriorate the operational capabilities (for example: inspection times, penetration and resolution) of the screening system
2.2.2.7 Throughput

The Radiography system will be able to inspect at least 24 objects / hour.
2.3 Acronyms and Abbreviations

	AEDC
	After Effective Date of Contract

	CC/CCR
	Container Code / Container Code Recognition

	CCTV
	Closed Circuit Television

	CDR
	Critical Design Review

	CQCS
	Contractor’s Quality Control System

	CIW
	Check-In Workstation

	COW
	Check-Out Workstation

	CR/CTA
	Client's Representative /Client's Technical Advisor

	DR
	Design Review

	DDR
	Detailed Design Review

	EC
	Evaluating Committee

	FCS
	Facility Control System

	FAT
	Factory Acceptance Test

	GOI 
	Government of Israel

	ISP
	ISRAPORTS - Israel Ports Company

	IAW
	Image Analyst Workstation

	IDS
	Intrusion Detection System

	ITA
	Israel Tax Authority

	LP/LPR/ALPR
	License Plate Number/Automatic License Plate Recognition

	OCR
	Optical Character Recognition

	OM
	Operation & Maintenance

	PA
	Public Address 

	PDR
	Preliminary Design Review

	QC
	Quality Control

	RCW
	Re-Check Workstation

	RCS
	Radiography Control System

	SAT
	Site Acceptance Test

	SDMS
	Shipment Directing and Monitoring System

	SO
	System Operator

	SOW
	Statement Of Work

	TCS
	Traffic Control System

	TKP
	Turn Key Project

	UPS
	Uninterrupted Power Supply

	WS
	Workstation



            CIEX     -     Check in Cabins {exist}
            CI          -     Check out cabins {New}

            CO        -     Check Out Cabins {New}

            RAEX    -     Radiography Facility A {Exist}

            RBC      -     Radiography Facility B + C {New}

            MOEX   -     Manuel Inspection Facility {Exist}

            M           -     Manuel Inspection Facility {New}

            MO        -     Offices {New}

            LAB       -     Chemical Laboratory {Inspection Ramp}

            VEX       -     Vehicle Inspection Facility {Exist}

            V            -     Vehicle Inspection Facility {New}

            OEX       -     Offices {Exist}

            HVR       -     High Voltage Room 
section 1_intro 25.7.2019 version 2
1-1
September 04
3
SOW Ashdod port
Section 1_intro
1-6
10.9.2019

