SECTION 7 Haifa CUSTOMS HOUSE NEW BUILDING (Optional)

CONTENTS

1.      General…………………………………………………………………......….…

2.     The HCH (Haifa customs House) will comprise the following……………….

3.     Site Entry and Exit…………………………………………………………….…

4.     Office Building (HCH offices) …………………………………………………...

5.     Functions and distribution of the HCH will be planned according to

the HCH program………………………………………………………...………

6.     General references…………………………………………………………...…

.1General

The planning of customs house will be made according to appendix 2.9 of the government housing.

The customs program reserves an optional office building for Haifa Customs House (HCH), to be optionally located at the southern corner of the general compound, where at the primary layout is an open parking lot, adjacent and to the south of the CI cabins.

Plot area for the HCH is an estimated 3,500 sqm.

.2The HCH will comprise of the following :

- An office building of a particular program indicating 4 stories of appx. 710 sqm each – including a ground floor at site level of an equal area.

- An adjacent parking lot for both personnel and the public it serves, will be according to Customs requirements = 100 parking places, of which up to 16 are for visitors, and in any way not less than required according to Israeli regulations.

- Roads, pavements, site developments etc.

- Employees of customs house parking 100 parking places will be close as possible to customs house and the pass from parking to customs house will be safe pedestrians

The entire HCH compound will be external to the inspection complex controlled perimeter, and will be accessed via separate driveways and gates – both by pedestrians and by vehicles, as indicated in the general layout. A gateway will enable controlled passage of customs personnel – pedestrian and vehicles – between the two compounds.

.3Site Entry and Exit

Generally, Customs employees and visitors will reach the site either by external roads (Personnel & Visitors) or via the Inspection Complex (In and Out – Personnel Only).

Entrance from inspection complex will include a mesh gate (identical to the perimeter fence) that will be manually controlled and operated by internal video control system and intercommunication and will allow entry for authorized only, throughout working hours.

All other barriers will be of the lifting horizontal bar type.

- T.B.D with The security officer.

.4Office Building (HCH offices)

A 4 stories of approximately 710 m2 each including entrance ground floor on site level.

Total area – appx. 2,840 m2

The design will allow a future addition of a 5th floor on top of the building.

Façade design –

The location of the optional HCH at the strategic point of the main access routes to the port – require and additional attention to it's overall appearance.

The design of the building envelope will make use of advanced cladding technologies of high standards, such as prefabricated ultra-thin concrete panels, HPL panels, Terracotta tiling, aluminium sidings, curtain walls, etc. The design of the building envelope and general appearance will be to the approval of the Customs representatives and to their complete satisfactory.

Contractor must consider that building site is located at ocean environment.

.5Functions and distribution of the HCH

Will be planned according to the HCH attached program.

.6General References :

The following instructions refer to documents in this bid/contract:

The planning of customs house will be made according to appendix 2.9 of the government housing.

- Construction principles and design instructions will be according to Section 6-A.

- Electric supply system design principles ad guidelines will be according to Sub-Section 6–B

- Communication infrastructure and siem will be according to Sub-Section 6-c1

- Public address (PA) System will be according to Sub-Section 6-c3

- Air Conditioning System will be according to Section 6–D

- Fire Detection& Extinguishing System will be according to Section 6–E

- Administrative and Special Furniture and Accessories will be according to Section 6–F

- Specifications of the FCS (FACILITY CONTROL SYSTEMS) will be according to Section 6–G

- Specification of the Signs will be according to Section 6–H

- Water and Sanitary Sewage will be according to Section 6–I

- Principles and guidelines for design of infrastructure of roads, plazas, earthworks, drainage, fence, parking and gardening Section 6– J

Note:

- At the PDR, the contractor will present for client's approval, the updated site & buildings design drawings according to Client's requirements, land's final location and exact shape and area of the entire site.

- Gates and fences to be built according to the instructions shown in security appendix 2.4 of ITA.