Storage Location Manager

When you locate, move, or discard containers containing samples or inventory, you choose from

available storage locations. To choose from available locations, you must first configure:

Buildings and rooms using the Sites application. Location types, such as freezers, using the Location Types application. Location types within location types, such as shelves in freezers, using the Sublocation Types application. Then, to reflect the actual locations available for storing samples or materials, use Storage Location Manager to update storage locations when the location information changes. You can import parsed data into your LIMS from another system. To create a .csv file for importing data into Storage Location Manager, right-click StorageLocations.csv, select Save Target As, save the file, edit it, then upload it using the Import from File link.

NOTE This link can be used from the Help topic, not from the PDF form of the manual. For complete details about configuring the .csv file and then importing it using Import From File, see the Section Importing Configuration Data using CSV Files.

Viewing and Adding Equipment

You can view and add equipment using the Equipment List pane.

TIP If you opened this topic using the Help from reminder Pending Maintenance/Open Events,

only the equipment pending maintenance is listed. For more information about updating these

records, see the sections General Tab and Instrument Log Book Tab.

>> To view or add an instrument in the system

1. Go to Organization-Resources > Equipment Manager.

TIP It is also possible to display information from equipment manager about a piece of

equipment associated with a test by clicking the Equipment link in the Test Manager (Method

tab).

2. To make equipment available to a service group at their lab site, select the service group in the

drop-down list.

3. To open the Add Equipment window, click Add. Enter an Equipment ID, select an Equipment

Type from the drop-down list. Click OK. By default, the Status is In Service, that is, available for

use.

TIP To make equipment types available to the Equipment Manager, list them in the Equipment Types base static table.

4. If any maintenance events were associated with the equipment type in the Equipment Types table, they appear in the Equipment Schedule Events tab (General tab) by default. Also by default, the Status is IS (in service). For more information about how to add/remove maintenance

events or change status, see the section General Tab.

5. Click Delete to remove an instrument from the Equipment List pane. Accept the warning.

6. To view the selected equipment log book, click Print Report. Select whether to print the currently

selected instrument or all equipment and click OK.

DCU - Data Capture Utility. The Data Capture utility (DCU) can be used to capture instrument results and enter the results into the LIMS automatically when you click a DCU link. The DCU application in STARLIMS works with two interface types: Files and Serial. In the context of the Files interface, the DCU can use a script configured according to instrument file to locate values in particular fields in the file and put these values, typically separated by commas, into a string in an expected order. (This is what is referred to as parsing the data.) It can then enter these comma separated values into results fields designated in the LIMS. The Serial interface allows you to capture data directly from serial instruments such as RS232 rather than using an intermediate file.