מסמך ד'

פירוט המערכות  וחלקי חילוף
1.  ברז Acorn
[image: image10.emf]
[image: image2.png]363-+020-002 | METERING SERVOMOJOR_ASSEMBL R N

N199h 9oN

3-024-000 | COVER PLATE-METERING : blCadal

2363-023-000 | DIAPHRAGM SPRING P

G
L
b
g
K
)
)
&
ES

553-071-001 | MAGNET CUP_ASSEMELY
353-003-000 | ACTUAIOR SPRING

2583-001-000 | MOTOR HOUSING

HEM _FART NUMBER 1 OESCRIP ON HTEM t PART NUMBER ! DESCR - ON

B NiLe ’ ]
RS ACORN ’ AIR-CONTROL METERING SERVOMOTOR ASSY.
‘) B‘GIHEEHING MANUT ACTURE DAL i ” DATE 1SSUED _~<AWKG NUMBER
COMPANY - '

JANUARY 1984 9-1-89

OATE REMSED

)

P I 3527 NOUSTRY, CA. §1744
1anE) 2334551 FAX (B18) 961-2200

9855-000-002





Acorn

[image: image3.png]INSERT FROM BAC
OF MOUNTING
CHANNEL

b

USE BLUE LOCTIT.





[image: image4.jpg]o N8N MY

2195-010-00C[1/2" NPS INLET HOSE

099

0124—-005-000]#i0 x 1 /2 "HEX.HD.TYP.A

SELF_TAP SCR]

190 NN

4224-066—199

IVALVE MOUNTING CHANNEL H & C

0373

0124-~010-000

#10 PHIL,RND.HD.SELF TAP SCR. x 1727

DI 7N + SNon

2570~040-001

H-& C MIXING TEZ 1/2 GPM |

W9 9

0326—-100—-0C0 |RETAINING CLIP

1

SNDY TS P

2570-107-00C1 [LH TOP METERING MOTOR

ASSY

TR 78 Inn

I

% |2570-105-001|RH_10P_METERING MOTOR
2570-000-001

ASSY

ITEM | PART NUMBER DESCRIPTION

STRAINER CHECKSTOP ASSEMELY

ACCRN ERGNEERING' COMPANY
6 bok 353 wEurTaY: Th, 91704
(528) 135-1581 Tax (626) 961-2300

LS

SE

H&C PENAL AIR-TRO. METERING

o AR

PLASTIC, —D4-M ASSEMBLY
AIR~TROL VALVES | 2590~ 051-001
e o

a
HALF lc3-24~94l

B Iu:m

RACINE





Acorn[image: image1.png]By = o ‘

STYLE ERONZE VALVE BOOY ONLY.

e T

= 7

ITENS 17 & 18 ARE USED WiTH OLD l)t!\) @
]

NOTE:

TIMING iS ADJUSTABLE FROM 5 T0 60 SECONO

AND IS ACCOMPUSHED BY ROTATNG THE TIHING
DETAIL AA). TURNING THE SCREW

CREASES TIMING, COUNTERCLOCK-
ASFS TuNe





	מס'
	מק"ט יצרן
	שם הפריט

	28
	2566-150-001
	מפסק פניאומאטי קומפלט 

	29
	1895-450-000
	אום צינור אוויר

	30
	2566-056-199
	גוף המפסק

	31
	2566-001-000
	דיאפרגמה

	32
	2566-022-000
	אום פנימי

	33
	4005-031-199
	לחצן

	34
	4005-030-199
	אום הגנה


Acorn
[image: image5.emf]
	מס'
	מק"ט יצרן
	שם הפריט

	27
	2570-000-001
	Checkstops strainer – assy complete 

	35
	2570-012-000
	Stop bonnet

	36
	0401-129-000
	O-Ring

	37
	0401-012-000
	O-Ring

	38
	2570-015-199
	Stop Stem

	39
	2415-002-000
	Spring

	40
	2570-014-000
	Check Ste

	41
	2570-018-000
	Strainer

	42
	2570-011-001
	Stop Body Assembly

	43
	0401-016-000
	O-Ring

	44
	0124-005-000
	10x1/2"HX Head Self Tapping Screw

	45
	2195-010-000
	1/2"NPS x 6-1/4" stn. stl. Inlet hose

	46
	2195-015-000
	1/2"NPS x 15-3/4" stn. stl. Inlet hose

	47
	2195-024-000
	1/2"NPS x 24" stn. stl. Inlet hose

	48
	2570-001-199
	M x F Plastic elbow

	49
	0331-034-000
	Spacer  washer

	50
	0124-030-000
	8 x 3/8"pan head screw

	51
	0401-015-000
	O-ring


Acorn
[image: image6.png]COMPLETE ASSY





	מס'
	מק"ט יצרן
	שם הפריט

	53
	2590-200-001
	H & C Valve Body Complete 0.5 GPM 

	54
	2590-201-001
	H & C Valve Body Complete 2.5 GPM

	26
	2570-025-000
	R.H. Valve Body

	25
	2570-027-000
	L.H. Valve Body

	55
	2570-040-001
	H & C Mixing Tee Assy 0.5 GPM

	56
	2570-043-001
	H & C Mixing Tee Assy 2.5 GPM

	57
	2570-041-000
	Mixing Tee

	58
	0401-014-000
	O-Ring

	59
	0469-005-000
	Flow Control 0.5 GPM

	60
	0469-025-000
	Flow Control 2.5 GPM

	61
	2570-042-000
	Flow Control Adapter

	62
	1895-451-000
	1/4" Ferrule Nut

	63
	0401-015-000
	O-Ring

	64
	0326-100-000
	Retaining Clip

	65
	0124-010-000
	10-32 x 1/2" s.s. PHPL HD Screw


Acorn (ביס"ר צלמון)
[image: image7.png]



	מס'
	שם הפריט
	מק"ט היצרן

	1
	גוף הברז קומפלט
	9955-050-001

	2
	חיזוק
	2314-002-002

	3
	10 32 x 1/4" PD HD בורג
	0116-001-000

	4
	סטופר
	2314-002-001

	5
	כוס התאמה (קומפלט)
	2315-000-002

	6
	כוסית התאמה
	2315-000-199

	7
	אטם
	2315-001-000

	8
	10-32 אום
	2563-003-000

	9
	10 - 32 x 1" בורג
	0106-014-000

	10
	1/4" - 20 x 3/8" בורג
	0126-004-000

	11
	וסת ספיקה 5 GPM
	2312-000-001

	12
	אטם הטבעת
	0401-117-000

	13
	תושבת של הדיזה
	2312-001-199

	14
	דיזה 5 GPM
	0169-004-000

	15
	אטם
	0421-112-000

	16
	מפעיל וסת ספיקה
	2312-000-199

	17
	סט אביזרים ללא גוף הברז
	2310-901-001


2.  ברז 900 Sloan
[image: image8.png]SLOAN.

FLUSHOMETERS

Series 900
Hydraulic Flushing

System
" Maintenance Guide

\, couTRLst0P

ACTUATOR
{FLUSHOMETER) 2%
STOP COUPLING . e N (
TAILPIEGE 267~
BODY. 24 "
CORNECTING 23
i - Do
PusH UM BREAKER]
AeTuATon = g
(SPECIFYTYPE) 15
eLsow FLUsH
i (includes item No. 8)
LGS
Sounier e )
To Push Button Actuator
See Actualor Variations for
applicable Push Button style.
PARTS LIST
1 0301173 A72  RBCower J11f sosd
2. 0301168 A-71 Inside Cover [N CIEYY]

~3a. 5301058 A-79-AC  Relief Valve, White (Closet) -12 per pkg.
A-19-AU__Relief Valve, Black {Urinal)

rba, 5301236 A-163-A  Guide Assem 4.5 gpi/17.0 Lpf dusel &1.5 \]pl/‘ii Lpf Urinal-12 per pkg.
vBb. 5301032 A-752-A  GuideiAssem. 35 gpi/13.2 Lpf Glose t- 12 per pkg.
Guide Assem, 1.6 gpi/6.0 Ljﬂ TT Closel - 12 et pKg.

7. A
b v3i6 V651 Vaosum Breer apair BT Nyer ol
9. 0308690  H-550 RB Tailpice Coupling Toll. 1
N -551-4 justabe Tailpiece 2-1/T6" lon; ’ Y] .
11, 0388010 H-730-A __RB Wheel Handle Bak-Chek® Control Sto) T

17 3308855  H-541-A  1"Wheel Handle Repair Kit for H-730-A Control Stop | A ] o} ,Uﬂ’l
3308858 H-543-A __3/4" Wheel Handle Repair Kit for H-730-A Control Stoy

Each item has been identified by a Part Number and a
0308919 H-558-A__ Wheel Handle aApIAD A corresponding Code Number. To expedite your replace-
142, 0208078 H-561 1* RB Bonnet YV ment requirements, order by Code Number.
14h 0208083 _H-623 ___3/4' RB Bonnel [
5. --.-- V-500-A__ Vacuum Breaker Fiush Connection (specify sze 553, Pt o
160305610 F2-AA__(2) 1B Coupings, (2 1-U/2 Ficton Fngs, @) Wiid_(wlkGo  GpeGhrome Pied
17, 0206146 __F21 RB Elbow_ SRn YR RB = Rough Brass.

18. 0306087 F2-A

1" RB Coupling, Friction Ring and Gaskel gpf = gallons per flush

RB Fiared £nd Fiush Connection (spectly Tenglh] "o L= Lpf = Liters per flush
/4" RB Elow Fush Connecton wifh Goupling and Gaskel (spacty length) _ fzz¥mh 311 LC = Low Consumption

0306054 374" RB Coupling. Fiction Ring and Gasket Tz L ATk WH = Whee! Handle
0316024 'RB Valve Actuator Housing (only) — b sy~ A
0318023 “Tube Fiting (2 required] ,\ 7

0318033 AY-35___Tube Fitling Nut (2 fequired) 0w T,
250316083 HY-30 ___1/& x4B Connecting Tubes (2 fequited) Tovn A\,,‘ £
26 0301083 A6 "R Coupllng ut (Handley Al
Z1._ 0337086 D022 0" Ring NI

_28." 3318005~ HY- 1H9A ‘Actuator Housifig Assem. mcludes 22‘23 24 26&27)





[image: image9.png]ROYAL FLUSHOMETER INSIDE PARTS KITS (item #7 from prevoius page)

INSIDE PARTS KITS

A364 | |
o | s |
asqnots | TSgs it |
|

closEr | URINAL

4374 |
35032l |
cuostt

PUSH BUTTON ACTUATOR VARIATIONS

HY-32-A (0318031)
ACTUATOR CARTRIDGE ASSEMBLY

For use with HY-50-A and HY-71-A Actuator Assemblies

HY-49-A (0318049)
METAL PARTITION PUSH BUTTON

Rl

el

2
| :
4

1. 3318007  HY-1000-A  Push Bution Kit - Includes:
Push Button,Flange, Springa
Set Screw

2. 0318004  HY:3 Spring

3. 3318010  HY-1003-A  Mounling Flange Kit - ncludes:
Mounting Fiange, Mounting Nut,
Screws (2), Tinnerman Nuts (2)

40318123 HY71A  Actuator Assembly

5. 0218046  HY-46 Monting Flange

NOTE: Includes HY-32-A Caitridge (shown above)

HY-100-A (0318117)
FIXTURE WALL METAL PUSH BUTTON

1 0318117 HY-100-A  Fixture Wall Metal Button Assem.
3318006  HY-771-A Metal Button Kit
3. 0305134  EL-109 Spring
4, 0318078  HY-50-A  Actuator Assembly
5. 0318033 HY-35 Tube Fitting Nut (2) req.
6. 0318028  HY-29 Threaded Rod
7. 0318109  HY-105 Spacer
8. 3318009  HY-1002-A Mounting Strap Kit
HY-33-A (0318001)
FIXTURE WALL PUSH BUTTON
1. 0318001 HY-33-A  Fixture Wall Push Button Assem.
2. 3318007  HY-1000-A Push Button Kit
3. 0318004 HY3 Spring
4. --3318008 - HY-7001-A Mounting Flange Kit -
5. 0318078 HY-50-A  Actuator Assembly
6. 0318033 HY-35 Tube Fitting Nut (2) req.
7. 0318028 HY-29 Threaded Rod
8. 0318109  HY-105 Spacer
9. 3318009  HY-1002-A Mounting Strap Kit

LT

(see Actuators listed below)
HY-72-A (0318072) HY-108-A (0318119)
SIDE WALL PUSH BUTTON PENAL WARE METAL PUSH BUTTON

3318007 . HY-1000-A. -, Push Button Kit - includes: Push
Button, Flange, Spring, Set Screw

0318004  HY-3 = Spiing

3318008  HY-1001-A  Mounting Flange Kit includes:

Maounting Flange, Mounting

Screws (2), Nuts (2), Washers (2)

0318123 ™ HY-71-A Actuator Assembly
0218043 HY-40 Plate

0305173 EL-173 Screws (4)
0318073 HY-73 Extension Adaptor
0318074 HY-74 Extension Stem

NOTE: Includes HY-32-A Cartridge (shown above)

30 0318116 Hror  pange 7O Nla
97 OOIETIT Y- Mounting Washerognsl |
0318112____HY-93 Mounting Nut T

ut,











