## Cost Template
BID 110-2024 Appendix D1
**All subject to the work instructions detailed in Section 30.1 in Part C of the tender** | [7 empty] | number of years | 20
Adjustment
|  | quantity (for comparison) |  | unit price | total |  |  | legend
The cost of adjustment and setup in the master environment, as set forth in Section 30.2.1 |  | 1 |  |  | 0 |  |  | Do not touch
Adjustment - Total |  |  |  |  | 0 |  |  | mandatory
computed cell
Comments
Historical data | [7 empty] | Total
|  | quantity (for comparison) | unit price |  | total |  |  | Total BID
The cost of conversion of and access to historical data as set forth in Section 30.2.2. | Access to Historical data | 1 |  |  | 0
| Conversion of historical data | 1 |  |  | 0
Historical data - Total |  |  |  |  | 0
Installation
|  | quantity (for comparison) |  | unit price | total
The cost of installation on premises or in the cloud as set forth in Section 30.2.3 | Installation on premises or in the cloud | 1 |  |  | 0
Installation - Total |  |  |  |  | 0
Deployment
|  | quantity (for comparison) |  | unit price | total
Cost of deployment of the system at the medical centers as set forth in Section 30.2.4 | first general laboratory at a general medical center | 11 |  |  | 0
| an additional general laboratory at a general medical center | 2 |  |  | 0
| a microbiology laboratory at a general medical center | 11 |  |  | 0
| a pathology laboratory at a general medical center | 11 |  |  | 0
| a blood bank laboratory at a general medical center | 11 |  |  | 0
| a genetics laboratory at a general medical center | 2 |  |  | 0
| a general laboratory at a psychiatric / geriatric medical center | 4 |  |  | 0
Deployment - Total |  |  |  |  | 0
Instructing
|  | quantity (for comparison) |  | unit price | total
The cost of instruction courses as set forth in Section 30.2.5 | Course for users at a laboratory | 114 |  |  | 0
| Course for referents at the centers | 10 |  |  | 0
| Course for Application Users | 15 |  |  | 0
| Course for infrastructures people | 10 |  |  | 0
| Course for instructors | 10 |  |  | 0
Instructing - Total |  |  |  |  | 0
Adoption
|  | quantity (for comparison) |  | unit price | total
The cost of adoption support by laboratory type as set forth in Section 30.2.6 | first general laboratory at a general medical center | 11 |  |  | 0
| an additional general laboratory at a general medical center | 2 |  |  | 0
| a microbiology laboratory at a general medical center | 11 |  |  | 0
| a pathology laboratory at a general medical center | 11 |  |  | 0
| a blood bank laboratory at a general medical center | 11 |  |  | 0
| a genetics laboratory at a general medical center | 2 |  |  | 0
| a general laboratory at a psychiatric / geriatric medical center | 4 |  |  | 0
Adoption - Total |  |  |  |  | 0
professional services
| Function | quantity of hours (for comparison) | price for hour |  | total
Cost of professional services by function as set forth in section 30.2.7 | project manager | 7000 |  |  | 0
| systems analyst | 7000 |  |  | 0
| System Infrastructure Specialist | 7000 |  |  | 0
| Information Security Specialist | 7000 |  |  | 0
| DBA | 7000 |  |  | 0
| Senior programmer | 7000 |  |  | 0
| Programmer | 7000 |  |  | 0
| QA Engineer | 7000 |  |  | 0
| senior instructor/adoption supporter | 7000 |  |  | 0
| instructor/adoption supporter | 7000 |  |  | 0
| Help Desk Technician | 7000 |  |  | 0
Professional services - Total |  |  |  |  | 0
surcharges for developing drivers and installation works
|  | quantity (for comparison) | unit price |  | total
surcharges for developing drivers and installation works as set forth in section 30.2.8 | Surcharge for a new instrument in a laboratory requiring development of a driver | 28 |  |  | 0
| Surcharge for a new instrument in a laboratory that does not require development of a driver | 100 |  |  | 0
surcharges for developing drivers and installation works - Total |  |  |  |  | 0
Liscensing costs
Are you an existing supplier for the general governmental medical centers? |  |  |  | according to section 30.2.9.2 c: An existing system that is currently deployed in the Division’s general medical centers does not require new deployment at the medical centers and will operate on a full scale starting from the first year of the engagement.
Annual enterprise licensing cost as set forth in section 30.2.9
ranges of speciments |  |  |  | offered cost | calculations |  |  |  | Accessory table - specimen price
ranges | minimum amount of specimens | maximum amount of specimens | Representative quantity of specimens | specimen price | Cost of specimens for comparison to range | Weight per range | Cumulative weight for range | Maximum cost for range | maximum specimen cost per range | gradually decreasing | less than maximum cost for range
range 1 | 1 | 3000000 | 1500000 |  | 0 | 12.5% | 12.5% | 0 | 0 |  | TRUE
range 2 | 3000001 | 7500000 | 5250000 |  | 0 | 18.75% | 31.25% | 0 | 0 | FALSE | TRUE
range 3 | 7500001 | 13000000 | 10250000 |  | 0 | 25% | 56.25% | 0 | 0 | FALSE | TRUE
range 4 | 13000001 | 17000000 | 15000000 |  | 0 | 18.75% | 75% | 0 | 0 | FALSE | TRUE
range 5 | 17000001 | >25,000,000 | 21000000 |  | 0 | 25% | 100% | 0 | 0 | FALSE | TRUE
Accessory table - bid analysis by years and cumulatively
estimated annual growth percentage of number of specimens
5%
years | year 1-5 |  | year 6 | year 7 | year 8 | year 9 | year 10 | year 11 | year 12
| Existing Supplier (in General governmental medical centers) | New Supplier
amount of specimens | 105000000 | 53000000 | 22050000 | 23152500 | 24310125 | 25525631.25 | 26801912.8125 | 28142008.4531 | 29549108.8758
cost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cumulative cost | 0 | 0 | Error | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
years | year 13 | year 14 | year 15 | year 16 | year 17 | year 18 | year 19 | year 20
amount of specimens | 31026564.3196 | 32577892.5355 | 34206787.1623 | 35917126.5204 | 37712982.8465 | 39598631.9888 | 41578563.5882 | 43657491.7676
cost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cumulative cost | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Bidder surcharges | bar: year 13 to year 18
bidder may add rows as necessary
|  | component | quantity | unit price | total | comments
Bidder surcharges – additional components required for implementing the solution as set forth in section 30.2.10. | year 13: one time cost; year 17: 0
0
0
0
0
0
| one time cost -subtotal |  |  |  | 0
| annual cost |  |  |  | 0
0
0
0
0
0
| annual cost - subtotal |  |  |  | 0
| 20 years annual cost |  |  |  | 0
| Bidder surcharges - total |  |  |  | 0
Total BID - for comparison | year 17: Error